## Slide 1: The UConn Experience: Maintenance, Issues, and Benefits
Michael Dietz, Ph.D. University of Connecticut Center for Land Use Education and Research (CLEAR)
Rockfall Foundation Symposium
March 22, 2018

## Slide 2: First bioretention at UConn (2003)

## Slide 3: Burton-Shenkman (2005)

## Slide 4
2009
Towers Pervious Asphalt Lot

## Slide 5
Field House Pervious Concrete (2009)

## Slide 6
2009
Gant Plaza Green Roof
Gregoire, B., and J. Clausen. 2011. Effect of a modular extensive green roof on stormwater runoff and water quality. Ecological Engineering. Vol. 37, pp. 963-969.
Retained 51% of precipitation!

## Slide 7
2011
Laurel Hall

## Slide 8
2011
Laurel Hall

## Slide 9
2011
Laurel Hall

## Slide 10
2012
Oak Hall

## Slide 11
2012
Oak Hall

## Slide 12
2013
Hillside Rd Snow Shelf

## Slide 13
Rain Gardens & pervious asphalt parking stalls near Whetten Center.
2013

## Slide 14: Storrs Hall 2013

## Slide 15: Tree Filters (2014)

## Slide 16: Basketball practice bioretention (2014)

## Slide 17: Rain gardens 2017

## Slide 18: 2017

## Slide 20: Maintenance issues

## Slide 21: First rain garden/bioretention at UConn - 2004
Correctly built to specification
Curb installed after construction…but all the way around!

## Slide 22: Pay attention to detail!
Curb cuts added after (not the best design here)

## Slide 23: Turf dams – maintenance issue

## Slide 24: Failed to factor in people…

## Slide 25
2004
2014

## Slide 26: Maintenance is so bittersweet…

## Slide 28: Pay attention to detail
Large bioretention installed 2011
Overflow designed to contain 10-year storm…

## Slide 29: Many good examples at UConn, but…
Held water for 1 week+
Compacted soils, no underdrain installed
2010

## Slide 30: Pervious concrete at UConn
Field house parking lot
Installed 2 days before classes began, 2009

## Slide 31: Problems with UConn pervious concrete Lot totally failed by 2017

## Slide 32: Potential reasons for failure of PC
Improper mix ratio
Improper handling (and transport time!)
Improper placement
Insufficient curing time
Improper salting

## Slide 33: Pre-cast pervious concrete
“Stormcrete” from Porous Technologies (Yarmouth, ME)

## Slide 35: Over-mulching at UConn
Storage depth was correct at installation…but…
You need to make sure it stays that way!

## Slide 36: Clogging of pervious pavements
Regular maintenance keeps problems away

## Slide 37: Regenerative air sweeper
Works OK with light debris loading, and performed very regularly (at least 4x per year)

## Slide 39: Before After

## Slide 42: Conclusions
All of these practices work well- IF…
  They are properly designed, installed and maintained
UConn has made a major commitment to using these practices
Coordination with facilities/DPW is critical

## Slide 43: Thank You! michael.dietz@uconn.edu